## Slide 1: Overview of Genomics Data Generation
Fred W. Kolling IV, PhD
Co-Director, Genomics Shared Resource
December 14th, 2020

## Slide 2: Genetics vs Genomics: What’s the difference?
Genetics: the study of one or a few genes and their patterns of inheritance
  Gregor Mendel’s pea experiments
  Pedigree analysis of familial disease
Genomics: The study of all genetic material within an organism
  Only made possible in last 20 years
    High throughput sequencing
    Computational biology

## Slide 3: Next Generation Sequencing reduces costs, expands access to genomics technologies

## Slide 4: What is Next Generation Sequencing (NGS)?
Sequencing by Synthesis (SBS) Technology

## Slide 5: Preparing DNA for NGS
DNA must be made into a “library” prior to sequencing
  Add sequences required for binding to flow cell, priming sites for sequencing

## Slide 6: Preparing RNA for NGS
rRNA accounts for ~95% of RNAs in the cell
  Not interesting and must remove before sequencing
PolyA Capture
Only captures PolyA RNA (mRNA)
Requires high quality samples (RIN>7)
Ribodepletion
Captures all RNAs >200nt (ncRNAs + mRNAs)
Good for low quality samples

## Slide 7: Preparing RNA for NGS
RNA must first be converted into cDNA, then prepared the same as DNA libraries
Stranded libraries are essential for identifying overlapping genes, especially antisense transcripts

## Slide 8: Modifications to traditional RNA-seq methods
Unique Molecular Identifiers (UMIs) to improve quantification
3’-end sequencing to reduce costs for differential expression
Gene A
Gene B

## Slide 9: Reading libraries on the sequencer
Inserts can be read in one (single-end) or both (paired-end) directions
Libraries may contain “index” sequences that are unique to each sample, allowing multiplexing on the same run
Index
Index

## Slide 10: Data output from the sequencer: bcl and fastq files
Basecall files (bcl)
  Contains raw data regarding fluorescence color and intensity at each cluster for each sequencing cycle
Convert to fastq bcl2fastq
Fastq
  Nucleotide sequences
  Basecall quality scores in PHRED format
  Sequencer information
Example fastq entry
Phred Quality Score | Probability of incorrect base call | Base call accuracy
10 | 1 in 10 | 90%
20 | 1 in 100 | 99%
30 | 1 in 1000 | 99.9%
40 | 1 in 10,000 | 99.99%
50 | 1 in 100,000 | 99.999%
60 | 1 in 1,000,000 | 99.9999%

## Slide 11: Data access and storage
Data files are large!
Files are stored on DartFS
  High speed, redundant disk space
  Accessible via Discovery/Polaris
  Can be mounted to your PC/Mac
Each lab has a folder that is protected with your NetID and password
  We can add/remove people from your lab group
Data can also be shared via a web link for external users
Fastqs are stored for 5 years in read-only format
Run Type | Size (Gb)
MiniSeq Mid Output 300 cycle | 5Gb
MiniSeq High Output 300 cycle | 14Gb
NextSeq Mid Output 300 cycle | 30Gb
NextSeq High Output 300 cycle | 100Gb
Storage Speed | Time
High Speed (T3) | 1yr
Archive (T4) | 4yrs

## Slide 12: Data output from the sequencer: bcl and fastq files
Basecall files (bcl)
  Contains raw data regarding fluorescence color and intensity at each sequencing cycle
Convert to fastq bcl2fastq
Fastq
  Nucleotide sequences
  Basecall quality scores in PHRED format
  Sequencer information
Good Quality
Poor Quality

## Slide 13: Preprocessing reads for downstream analysis
Remove adapter sequences from resulting from read through
Remove Poly-A/T sequences from RNA-seq data
Quality trimming to remove low quality bases
Parsing UMIs if present
Index
Index

## Slide 14: Evaluating coverage uniformity: RNA-seq
  Expect even gene body coverage for full-length methods
    3’ bias indicates low sample quality, especially in Poly-A protocol
  3’-end sequencing methods will of course, have 3’ bias
Even Coverage
3’ Bias

## Slide 15: Single-End vs Paired-End Sequencing: DNA-seq
Paired end sequencing is optimal for DNA-seq
  Easier mapping to reference
  Essential for de-novo assembly
  Essential for identifying structural changes in the genome

## Slide 16
Single-end vs paired-end
  To measure overall levels of RNA, single end is usually sufficient
  Paired-end is preferred if interested in alternative splicing, isoform-level information
Single-End vs Paired-End Sequencing: RNA-seq

## Slide 17
Sequencing coverage: RNA-seq
  Determined empirically
  Transcriptome size varies between cell types
  and across organisms
  Human/mouse/Rat:
    mRNA  ~15M reads
    mRNA +lncRNA  30-40M reads
    miRNA  1-10M reads

## Slide 18: Sequencing coverage: How much sequencing do I need?
Sequencing coverage: the average number of reads covering any given base in a dataset

## Slide 19
Sequencing coverage: DNA-seq
Germline
Somatic

## Slide 20
Germline
Somatic
Sequencing coverage: DNA-seq
What types of alternations am I looking for?
  Copy Number Variation (CNV)
    Low coverage OK, lower coverage = lower resolution
  Single Nucleotide Variants (SNVs)
    Germline
      Less coverage required (20-50x)
    Somatic
      Depends on allele frequency (100-200x typical)

## Slide 21: I can sequence the whole genome/transcriptome, should I?
Whole Genome Sequencing (WGS)
  Provides comprehensive view of the genome Do I need all of this information?
    Do I only care about changes in protein coding genes? Regulatory information important?
  Expensive
  Can I handle this much data?
Targeted sequencing
  Whole Exome Sequencing
    Enrich and sequencing only protein-coding regions of the genome (i.e. exome)
  Disease-specific or custom panels
    Are there specific genes/mutations I am interested in?
Do I need high coverage? (i.e. rare SNVs)
  Focus sequencing efforts where needed

## Slide 22: Cost considerations in WGS vs targeted sequencing
Cost = $5,500/run
Sequencing read depth = ([Coverage] * [genome/panel size]*[1+duplication rate])/[read length(bp)]
235M reads = ([20x] * [3.2Gb] * [1.1]) / [300bp]  ~2 whole genomes/run
31M reads = ([200x] * [42Mb] * [1.1] / [300bp]  13 whole exomes / run

## Slide 23: Targeted sequencing allows more replicates for better experimental design
By focusing on targets of interest, sequencing costs are reduced
Resources can be redirected towards additional biological replicates
Replicates increase ability to detect differentially expressed genes

## Slide 24: Disadvantages of short-read sequencing
Challenging to detect large-scale structural variation
  Inversion, non-reciprocal translocations, duplication
Hard to map reads to repetitive regions
  Telomeres, centromeres and others
Hard to map reads to genes with closely related paralogs or pseudogenes
  There are over 100s of clinically actionable variants that are missed by short read sequencing because reads cannot be confidently mapped
Unable to determine for many genes, whether two mutations occur in cis or trans
  Requires haplotype “phasing”

## Slide 25: Long-read sequencing complements short-reads
Long Read Sequencing
(PacBio)
Synthetic Long-Reads
(Linked Reads)

## Slide 26: 3rd generation sequencing: direct sequencing using nanopores
Advantages
  VERY long reads  as long as the molecule you put in
  Detection of base modifications
    DNA methylation
    RNA modifications
  No need to convert RNA to DNA
  Portable
Disadvantages
  High error rate (90bp/sec, too fast to read)
  Need to prepare high molecular weight DNA